## Slide 4
COLLABORATIVE EFFORT 2
WHAT IS A SMART THERMOSTAT?
A communicating thermostat that can sense occupancy and set back temperature set points accordingly
Example of Requirements:
    Wi-Fi enabled and controllable through a remote device.
    Connected to continuous 24 volt power supply source (through common wire or adapter).
    Incorporates occupancy based controls.
    Compatible with multi-stage heating and cooling units.
    Two year product warranty.
Established and shared with thermostat manufacturers on 5/20/2015
3