## Slide 1: Best Practices Guide for Benefit-Cost Analysis of Managed EV Charging
National Association of State Utility Consumer Advocates (NASUCA) Webinar
Myles Collins, Berkeley Lab
January 29, 2025
This work was funded by the U.S. Department of Energy Office of Electricity, under Contract No. DE-AC02-05CH11231.

## Slide 2: Presentation Overview
Project background, objective, and methodology
Results from review of managed EV charging benefit-cost analyses (BCAs)
  Programs
  Time-varying rates (TVR)
Key findings, data gaps, and challenges

## Slide 3: Project background, objective, and methodology

## Slide 4: Background and Objective
Berkeley Lab is developing a guide for conducting BCA specifically for managed EV charging programs and rates, under the U.S. Department of Energy’s EVGrid Assist initiative.
The guide will serve as a technical resource for utilities, regulators, and stakeholders:
  Provide a typology of benefits and costs
  Review approaches to BCA for managed charging to date
  Identify emerging best practices
  Describe gaps in data, methods, and processes and provide recommendations for addressing them

## Slide 5: Types of Programs and Rates
Type of Charge Management | Program Type | Definition
“Active” program: direct load control | Event-based | Controls load during a limited number of events in a given time period.
 | Continuous | Also known as dynamic managed charging, considers real-time or near real-time grid conditions to continuously adjust the EV load to maximize value or minimize costs. Can include conditions at both the bulk level and at the distribution circuit level.
 | Bidirectional charging | Involves discharging an EV battery to a load, a building, another vehicle, or to the grid.
“Passive” program: no direct load control | Off-peak incentive | Includes behavioral demand response and incentive programs to encourage off-peak charging.
Time-varying rate (TVR) | Whole-premise TVR | Standard opt-in or opt-out TVR, not specific to customers with EVs.
 | Beneficial electrification rate | Whole-premise TVR with larger price differentiation between on-peak and off-peak periods than standard TVR. Designed for customers electrifying end uses such as transportation (EVs), heat pumps, and water heaters.
 | EV-only rate | TVR for EV charging load only.

## Slide 6: Metering and Control Configurations
Source: Andy Satchwell, Berkeley Lab
Metering
Control via EVSE or vehicle
Whole home/facility consumption
via account meter
EV charging consumption via account meter
Submetering via EVSE or vehicle
Control
Notes: Control through EVSE (NSP or DERMS)
EVSE -

## Slide 7: Methodology
Create and engage Technical Advisory Group
Review academic literature
Review regulatory proceedings addressing BCA for managed charging programs
Review utility cost-effectiveness analyses for TVR
Conduct interviews with utilities, regulators, and key stakeholders
Provide guidance based on emerging best practices
Identify emerging best practices and areas for future improvement

## Slide 8: Review of BCAs for managed EV charging programs

## Slide 9: Regulatory Proceedings: BCA for Managed EV Charging Programs
Utility (State) | Program
Sacramento Municipal Utility District (CA) | Managed EV Charging
Eversource (CT) | Residential EV Charging Program (Baseline)
 | Residential EV Charging Program (Advanced)
National Grid (MA) | Residential Connected Solutions
Eversource (MA) | Residential Connected Solutions
Baltimore Gas & Electric (MD) | Smart Charge Management
Duke Energy Carolinas (NC) | EV Load Control Service Pilot
Nova Scotia Power (NS) | Smart Grid Nova Scotia – EV Charging
Dayton Power & Light (OH) | Residential Managed Charging
Dayton Power & Light (OH) | Residential Off-Peak Incentive
PacifiCorp (OR) | Residential Managed Charging Pilot
Rhode Island Energy (RI) | Residential Connected Solutions
Duke Energy Carolinas (SC) | Residential EV Charging Program
Dominion Energy (VA) | EV Telematics Pilot
Vermont Electric Cooperative (VT) | Managed Charger Program, Scheduled Charging Program, Flex Charging Telematics
Identified 76 managed EV charging programs across 28 states and a program in Nova Scotia
  Active managed charging (direct load control) – 86% of programs
  Passive managed charging (off-peak incentives) – 14% of programs
Focused review on 15 managed charging programs with either a standalone BCA for the program or a BCA for the program combined with TVR
Reviewed utility applications, utility expert witness testimony, discovery responses, EM&V reports, and BCA workbooks

## Slide 10: Cost-Effectiveness Tests
Test | Perspective | Question
Societal Cost Test (SCT) | The utility system and society as a whole | Will total costs to society decrease?
Total Resource Cost Test (TRC) | The utility system plus participating customers | Will the sum of utility costs and program participants’ costs decrease?
Utility Cost Test (UCT) / Program Administrator Cost (PAC) | The utility system | Will utility costs decrease?
Participant Cost Test (PCT) | Program participants | Will program participants’ costs decrease?
Ratepayer Impact Measure (RIM) | Rates | Will utility rates decrease?
Jurisdiction-Specific Test (JST) | Policy / regulatory | Do benefits exceed costs when accounting for applicable policy goal impacts?

## Slide 11: Frequency of Cost-Effectiveness Tests Across Program BCAs
Type of Cost Test | Frequency
RIM | 7
TRC | 6
PCT | 5
SCT | 5
UCT | 4
Undefined | 3
JST | 2
Internal Business Case | 1
The 15 programs with a BCA across 12 states and provinces included 33 applications of cost-effectiveness tests.
No single test was used in every state or province.
The TRC and RIM tests were the most common cost tests; however, the RIM test was always conducted alongside other tests, while the TRC test was used as the sole test in some jurisdictions.
The PCT, SCT, and UCT were used less frequently.

## Slide 12: Type and Frequency of Monetized Benefits in BCAs for Managed EV Charging Programs
Chart: Count of BCAs Reporting Benefit (N=15)
| Change in Revenues | Vehicle O&M Savings | Host Customer Bill Savings | Tax Credits Received by Customers | Gasoline Savings | GHG Emissions | Reliability | Market Price Effects | Financial Incentives to Customers | Energy Generation | Transmission Capacity | Generation Capacity | Distribution Capacity
Programs | 2 | 2 | 2 | 2 | 2 | 4 | 5 | 5 | 6 | 11 | 14 | 14 | 14

## Slide 13: Type and Frequency of Costs in BCAs for Managed EV Charging Programs
Chart: Count of BCAs Reporting Cost (N=15)
| GHG Emissions | Energy Generation | Host Portion of Equipment Costs | Financial Incentives to Customers | Program Administration
Programs | 2 | 2 | 5 | 15 | 15

## Slide 14: Review of BCAs for EV Time-Varying Rates

## Slide 15: Document Review Approach and Key Topics
Researchers reviewed and summarized utility and regulatory documents related to TVR for EVs, such as plans, applications, testimony, workpapers, and decisions, including:
  Advanced Metering Infrastructure (AMI) business cases that include TVR
  Utility applications for managed EV charging programs and transportation electrification initiatives
  Evaluations
  Other EV-related proceedings
Focus: Identify documents capturing benefits, costs, and cost-effectiveness tests applicable to TVR — ideally EV TVR
Reviewed 22 documents, covering a range of topics:
Topics | Count
Types of benefits | 18
Examples of rate structures | 16
Benefit or cost valuation | 9
Benefit-Cost Analysis (BCA) | 7
Rate design principles | 5
Comparison between managed charging programs and rates | 5
Net Present Value calculation | 5
EV TVR-specific costs | 4
Methods for calculating benefits | 3
Approaches to establishing baselines | 1
Guidance on developing cost-effectiveness test (CE) | 1
Evaluations | 1
15

## Slide 16: Document Content
Type of Rate Discussed |  |  | Rate / Program Combination | 
Beneficial electrification or EV-only | Whole-Premise TVR | Both | Rate Only | Program w/ Rate
11 | 9 | 2 | 15 | 7
Documents contained information on EV-specific rates (beneficial electrification or EV-only) (11), whole-premise TVR (9), and in some cases a combination of both EV-specific and whole-premise TVR (2)
15 of the documents focused on rates specifically; the remaining 7 focused on rates combined with managed EV charging or were embedded in a transportation electrification portfolio
16

## Slide 17: Types of TVR with BCA
8 of the reviewed documents included a BCA that clearly identified specific cost-effectiveness tests
  4 business cases, 3 reports, and 1 commission order
TVR was often combined with a program or was non-EV specific when included in a BCA
Rate Type | Count
Beneficial electrification | 1
Beneficial electrification + program | 2
Whole-premise TVR + program | 1
Whole-premise TVR | 4

## Slide 18: Frequency of Cost Effectiveness Tests
TRC test was the most frequently employed, appearing in 4 of the proceedings
JST, SCT, and PACT (UCT) each appeared in 2 documents
Type of Cost Test | Frequency
TRC | 4
JST | 2
SCT | 2
PACT (UCT) | 2
RIM | 1
PCT | 1
18

## Slide 19: Type and Frequency of Monetized Benefits in BCAs for TVR
The most common benefits identified for TVR were avoided costs of distribution capacity, energy generation, generation capacity, and market price effects.
The next most prevalent benefits were avoided costs of GHG emissions.
In some cases, benefits were quantified as part of the overall result (NPV or BCA ratio), but not listed individually in public filings.
19
Chart: Count of Documents Reporting Benefit
| Public Health | Gasoline Savings | Transmission Capacity | Energy Cost Savings | GHG Emissions | Market Price Effects | Generation Capacity | Energy Generation | Distribution Capacity
 | 1 | 2 | 3 | 4 | 5 | 6 | 6 | 6 | 6

## Slide 20: Benefits in BCAs: Comparison of Programs and TVR
Type | Benefits | Managed EV Charging Program | TVR | Individually Monetized for TVR
Utility System | Energy Generation |  |  | 
 | Generation Capacity |  |  | 
 | Market Price Effects |  |  | 
 | Transmission Capacity |  |  | 
 | Distribution Capacity |  |  | 
 | Reliability |  |  | 
 | Change in Revenues |  |  | 
Other Fuels | Gasoline Savings |  |  | 
Host Customer | Financial Incentives |  |  | 
 | Tax Credits Received by Customers |  |  | 
 | Energy Cost Savings |  |  | 
Societal | Public Health |  |  | 
 | GHG Emissions |  |  | 

## Slide 21: TVR Costs Are Situationally Dependent
With AMI
  Beneficial electrification rate
  EV-only rate
      Separately metered
      EVSE submeter or vehicle telemetry
        Requires subtractive billing (back out EV charging from premise hourly consumption)
Without AMI
  EVSE submeter or vehicle telemetry
      Requires subtractive billing (back out EV charging from premise energy consumption)

## Slide 22: Type and Frequency of Costs in TVR BCAs
The most commonly identified costs were:
  Infrastructure and equipment costs related to the purchase and installation of smart meters
  Program administration
  IT system costs
Costs can vary greatly and depend on various factors:
  State of AMI deployment
  Rate type
    Whole-premise
    EV-only
Existing billing system capabilities
22
Chart: Count of Documents reporting Cost
| Infrastructure/Equipment Costs | Program Administration | IT Systems | Financial Incentives to Customers
 | 6 | 6 | 5 | 2

## Slide 23: Costs Included in BCAs: Comparison of Programs and TVR
Type | Cost | Managed EV Charging Program | TVR
Utility System | Energy Generation |  | 
 | Financial Incentives |  | 
 | IT Systems |  | 
 | Infrastructure/Equipment Costs |  | 
 | Program Administration |  | 
Host Customer | Host Portion of Equipment Costs |  | 
Societal | GHG Emissions |  | 

## Slide 24: Key findings, data gaps, and challenges

## Slide 25: Findings and Data Gaps: Managed EV Charging Programs
Most program BCAs are for event-based demand response programs or off-peak incentives.
BCA documentation varies widely across programs.
  Program administration costs vary greatly and lack clear definitions.
  The host portion of equipment cost is rarely defined.
  Benefits tend to not be defined in detail.
  Methodological approaches for calculating impacts are not consistently detailed.
Most BCAs do not define a baseline.
Discussion of methods to account for interdependencies (e.g., between different utility programs) or the use of enabling technology (e.g., DERMS) is limited.

## Slide 26: Findings and Data Gaps: TVR for EVs
Limited EV-specific analyses:
  While whole-premise TVR is widely documented, explicit BCAs for EV-only rates remain scarce. That makes it challenging to isolate the costs and benefits that accrue solely to EV charging.
  TVR is often identified as a benefit stream for AMI business cases or part of a portfolio or broader initiative, but BCAs are not typically used in ratemaking.
Uncertainties around participation rates, technology adoption, and load-shifting benefits often limit the precision of cost-effectiveness evaluations.
TVR benefits (such as reliability) can become conflated with other utility initiatives, making it difficult to determine the portion of benefits attributable to EV load-shifting alone.
Most analyses blend EV charging benefits into broader AMI or whole-premise TVR, limiting insights into the incremental gains from EV-targeted pricing structures.
TVR may cause sharp increases in demand at the start of lower-priced periods, driving unforeseen distribution or transformer upgrade costs that are not generally addressed in BCAs.
Telemetry-based metering, integrated EVSE solutions, and other emerging tools may reduce hardware expenses over time but introduce their own uncertainties—particularly around data accuracy and internet connectivity.

## Slide 27: Key BCA Challenges Identified in Stakeholder Interviews
Distribution benefits are difficult to quantify
  Avoided costs lack the needed level of granularity
  BCAs do not adequately capture diversity in timing of peaks at the feeder level
  Scenario-based BCAs could help to account for uncertainty related to distribution impacts
Data quality is inconsistent
  Different data formats across EVSE
  Lack of standardization in data reporting
Participation and attrition are uncertain
  Past and current customer behavior may not predict behavior for future enrollees
  Demand patterns are uncertain to assess long-term benefits
Technology is nascent
  Connectivity issues (for retrospective BCAs)

## Slide 28
Contacts
  Myles Collins: mtcollins@lbl.gov Lisa Schwartz: lcschwartz@lbl.gov
For more information
  Download publications from the Energy Markets & Policy Department: https://emp.lbl.gov/publications
  Sign up for our email list: https://emp.lbl.gov/mailing-list
  Follow the Energy Markets & Policy on Bluesky: @berkeleylabEMP.bsky.social
Acknowledgements
  This work was funded by the U.S. Department of Energy Vehicle Technologies Office and Office of Electricity under Contract No. DE-AC02-05CH11231.
  The views and opinions of authors expressed herein do not necessarily state or reflect those of the United States Government or any agency thereof, or The Regents of the University of California.

## Slide 29: Extra Slides

## Slide 30: Eight BCA Principles from the National Standard Practice Manual (2020)1
Principle 1 - Treat DERs as a Utility System Resource: DERs should be compared with other energy resources, including other DERs, using consistent methods and assumptions to avoid bias across resource investment decisions.
Principle 2 - Align with Policy Goals: Jurisdictions invest in or support energy resources to meet a variety of goals and objectives. The primary cost-effectiveness test should therefore reflect this intent by accounting for the jurisdiction’s applicable policy goals and objectives.
Principle 3 - Ensure Symmetry: Asymmetrical treatment of benefits and costs associated with a resource can lead to a biased assessment of the resource. To avoid such bias, benefits and costs should be treated symmetrically for any given type of impact.
Principle 4 - Account for Relevant, Material Impacts: Cost-effectiveness tests should include all relevant (according to applicable policy goals), material impacts including those that are difficult to quantify or monetize.
Principle 5 - Conduct Forward-Looking, Long-term, Incremental Analyses: Cost-effectiveness analyses should be forward-looking, long-term, and incremental to what would have occurred absent the DER. This helps ensure that the resource in question is properly compared with alternatives.
Principle 6 - Avoid Double-Counting Impacts: Cost-effectiveness analyses present a risk of double-counting benefits and/or costs. All impacts should therefore be clearly defined and valued to avoid double-counting.
Principle 7 - Ensure Transparency: BCA practices should be transparent, where all relevant assumptions, methodologies, and results are clearly documented and available for stakeholder review and input.
Principle 8 - Conduct BCAs Separately from Rate Impact Analyses: Cost-effectiveness analyses answer fundamentally different questions than rate impact analyses. Cost-effectiveness analyses should therefore be conducted separately from rate impact analyses.
1 National Energy Screening Project. 2020. National Standard Practice Manual for Benefit-Cost Analysis of Distributed Energy Resources.

## Slide 31: Documents Reviewed for TVR
State | Utility | Document Name | Proceeding
WA | Puget Sound Energy | Puget Sound Energy's February 24' AMI Benefits Progress Report | Filing UE - 220066
RI | RI Energy | Advanced Metering Functionality Business Case and Attachments | RIPUC Docket No. 22-49-EL
RI | RI Energy | Updated Advanced Metering Functionality Business Case | RIPUC Docket No. 5113
Connecticut | Statewide | PURA AMI Order - 17-12-03RE02 | DOCKET NO. 17-12-03RE02
Oklahoma | OG&E | Smart Hours Program | CAUSE NO. PUD 201200134
Multi-State | Multi-State | Advanced Metering Infrastructure: Utility Trends and Cost-Benefit Analyses in the NEEP Region | N/A
MD | BGE | BGE Smart Charge Management Program Proposal | Case No. 9478
NY | NYSERDA | Benefit-Cost Analysis of Electric Vehicle Deployment in New York State | N/A
NY | DPS | STAFF WHITEPAPER REGARDING ELECTRIC VEHICLE SUPPLY EQUIPMENT AND INFRASTRUCTURE DEPLOYMENT | CASE 18-E-0138
NY | ConEd | ConEd Reply Comments June 4, 2021 | CASE 18-E-0138
NH | Eversource | SEPERATELY-METERED ELECTRIC VEHICLE TIME-OF-USE RATE AND LOAD MANAGEMENT PROPOSALS | DE 20-170
NH | Eversource | Eversource Proposal for Electric Vehicle Managed Charging Initiative | DE 20-171
N/A | EPRI | Distribution System Scenario Planning; Case Study and Guidance on Considering Scenarios and Investment Approaches in Distribution Planning | N/A
N/A | Berkeley Lab | American Recovery and Reinvestment Act of 2009: Final Report on Customer Acceptance, Retention, and Response to Time-Based Rates from Consumer Behavior Studies | N/A
N/A | Berkeley Lab | A Snapshot of EV-Specific Rate Designs Among U.S. Investor-Owned Electric Utilities | N/A
CA | PG&E | Electric Vehicle Automated Demand Response Study Report | N/A
FL | Duke Energy Florida | DEF Off-Peak Credit | Docket No. 20210016-EI
NY | N/A | Synapse- Driving Transportation Electrification Forward in New York | CASE 18-E-0206
VT | VT PUC | 2022 Report on Electric Rates for Electric Vehicles | N/A
N/A | N/A | BEST PRACTICES FOR COMMERCIAL AND INDUSTRIAL EV RATES | N/A
NY | ConEd | ConEd Advanced Metering Infrastructure Business Plan | Case 15-E-0050
DC | Pepco DC | Pepco’s Climate Solutions 5‐Year Action Plan: Benefits and Costs | Case No. 1167
31

## Slide 32: TVR Identified in BCAs
State | Utility/Org. | Document | Document Type | Rate Type | Cost Test
DC | Pepco DC | Pepco’s Climate Solutions 5‐Year Action Plan: Benefits and Costs | Business Case | Beneficial Electrification + Program | SCT PACT (UCT)
MD | BGE | BGE Smart Charge Management Program Proposal | Business Case | Beneficial Electrification + Program | JST
Multi-State | Multi-Utility | Advanced Metering Infrastructure: Utility Trends and Cost-Benefit Analyses in the NEEP Region | Report | Whole Premise TVR | TRC
N/A | LBNL | American Recovery and Reinvestment Act of 2009: Final Report on Customer Acceptance, Retention, and Response to Time-Based Rates from Consumer Behavior Studies | Report | Whole Premise TVR | TRC
NY | ConEd | ConEd Advanced Metering Infrastructure Business Plan | Business Case | Whole Premise TVR | TRC
NY | NYSERDA | Benefit-Cost Analysis of Electric Vehicle Deployment in New York State | Report | Whole Premise TVR + Program | RIM PCT SCT
OK | OG&E | SmartHours Program | Order | Whole Premise TVR | TRC PACT (UCT)
RI | RI Energy | Advanced Metering Functionality Business Case and Attachments | Business Case | Beneficial Electrification | JST

## Slide 33: Disclaimer This document was prepared as an account of work sponsored by the United States Government. While this document is believed to contain correct information, neither the United States Government nor any agency thereof, nor The Regents of the University of California, nor any of their employees, makes any warranty, express or implied, or assumes any legal responsibility for the accuracy, completeness, or usefulness of any information, apparatus, product, or process disclosed, or represents that its use would not infringe privately owned rights. Reference herein to any specific commercial product, process, or service by its trade name, trademark, manufacturer, or otherwise, does not necessarily constitute or imply its endorsement, recommendation, or favoring by the United States Government or any agency thereof, or The Regents of the University of California. The views and opinions of authors expressed herein do not necessarily state or reflect those of the United States Government or any agency thereof, or The Regents of the University of California. Ernest Orlando Lawrence Berkeley National Laboratory is an equal opportunity employer. Copyright Notice This manuscript has been authored by an author at Lawrence Berkeley National Laboratory under Contract No. DE-AC02-05CH11231 with the U.S. Department of Energy. The U.S. Government retains, and the publisher, by accepting the article for publication, acknowledges, that the U.S. Government retains a non-exclusive, paid-up, irrevocable, worldwide license to publish or reproduce the published form of this manuscript, or allow others to do so, for U.S. Government purposes